Lab-V The latent heat of vaporization of liquid nitrogen

Goal

- Review the physical concepts and relationships associated with the flow of heat into and out of materials.

- Determine the specific heat of aluminum in the temperature range between liquid nitrogen (LN) and room temperature water.

- Determine the latent heat of liquid nitrogen (LN).

Related topics

Heat

Introduction

When heat energy is added to a substance its temperature usually rises except when a change of phase occurs (e.g., a solid is changed into a liquid phase or a liquid state is changed into its vapor phase). The change of phase occurs without increase or decrease in the substance’s temperature. The thermal energy absorbed goes into changing the state of the matter involved. Conversely, when the phase changes as the temperature drops, the latent heat must be released. The latent head associated with water vapor in the atmosphere is one of the most significant factors determining the weather. It moderates temperature drops at night. And when released through the formation of water droplets drives the winds associated with storms, and even hurricane.

The historical unit of heat energy, the calorie, was defined as the amount of heat energy needed to raise the temperature of one gram of water by one degree Celsius. The calorie is now defined in terms of the SI unit of energy, the joule，by:

1 cal = 4.184 J

2.1 Specific Heat

When heat flows into or out of an object, its temperature changes. The connection between the change in heat energy and the change in temperature is the specific heat. The heat energy needed to raise the temperature of a substance is related to its mass according to the formula：

(1)

Where is the quantity of heat entering the material, m is the mass of the material, c is the specific heat, and is the change in the temperature of the material. The specific heat c is defined as the heat energy needed to raise the temperature of one gram of a substance by one degree Celsius (℃). In general, the value of the specific heat of a solid substance is predominantly a function of temperature, though small variation of the specific heat occurs due to variation in pressure or volume. Usually, the value of c in Eq. (1) is taken as its average value over the temperature interval between its initial and final temperatures, Ti and Tf respectively.

The specific heat of substances varies with the temperature, as for example the average value of the specific heat of aluminum is 0.17 cal/g•℃ between room temperature and liquid nitrogen temperature while it remains essentially constant (0.215cal/g•℃) from room temperature to 100℃. In contrast to this, the specific heat of water decreases from 1.00728 cal/g•℃ to 0.99795 cal/g•℃ in the temperature range 0 to 35℃ and then increases to 1.00697 cal／g•℃ at 100℃.

2.2 Latent Heat

Under certain circumstances the heat supplied to (or removed from) a substance does not cause a change in its temperature, instead it causes a change of phase (e.g., boiling, melting, freezing or condensation). The relationship between the heat added and the amount of material that changes from one phase to another is,

(Q=L(m                              (2)

Where:

- is the quantity of heat supplied to (or removed from) the material.

- L is the latent heat associated with transformation in question, e.g., Lf (the latent heat of freezing), Lv (the latent heat of vaporization) or Ls (the latent heat of sublimation).

- m is the mass of material which undergoes a transformation of state [liquid to its solid state (freezing) or into its vapor state (vaporization); or the transformation of solid directly into vapor (sublimation)].

2.3 Rate of Heat Flow

If we apply a temperature gradient to an object, one end is kept hot and the other end cold. Then heat flows from hot to cold. At a steady state, the rate R (in calories/second or J/s) at which heat flows through the object is given by:

(3)

Where k is its thermal conductivity [e.g., for styrofoam, k= 6×10-5 cal/(cm•℃•s)], A is the area of the material through which the heat transfer takes place, (x is its thickness, and (T is the temperature difference (Thot – Tcold).

2.4 Determination of the Latent Heat of Liquid Nitrogen

In this part of the experiment, the value of the latent heat of vaporization Lv of liquid nitrogen (Reference value: 47.8 cal／g) will be determined.

This part of the experiment will involve the immersion of a copper cylinder at room temperature into liquid nitrogen and measuring the quantity of the liquid nitrogen (m evaporated as the copper cylinder cools to the temperature of liquid nitrogen (-195.8℃). The amount of the heat energy transferred to liquid nitrogen by the copper cylinder should be equal to the heat energy required to evaporate (m grams of the liquid nitrogen. That is:

.						(4)

Thus, we get:

(5)

where：

Lv   =  Latent heat of vaporization of liquid nitrogen

mCu  =  Mass of the copper cylinder immersed into liquid nitrogen.

CCu  =  Specific heat of copper in the temperature range from room temperature to the temperature of liquid nitrogen (-195.8℃)

Ti,Cu  =  Initial temperature of the copper cylinder: room temperature.

Tf,Cu  =  Final temperature of the copper cylinder at the B.P.T. of LN (-195.8℃).

(mLN  =  Mass of liquid nitrogen evaporated by the immersion of the copper cylinder.

Experimental Apparatus

- Electric thermometers

- Copper cylinder

- Water

- Warm isolated cup

- Stop watch

- Electric balance

- Liquid nitrogen

Procedure

Measurement of the Latent Heat of Vaporization of Liquid Nitrogen

- Measure and record the mass (mCu) of the copper cylinder which will be placed into liquid nitrogen.

- Put liquid nitrogen into the warm isolated cup to 2/3 full. Put the cup and the copper cylinder on the electron balance as shown in the figure right. Record the time duration for each mass reduction of 0.5 gram with the stop watch.

- Put the copper cylinder into the liquid nitrogen. Observe the phenomenon and record in detail. Do not stop the watch.

- After you have seen the second fog, measure and record the time duration for each mass reduction of 0.5 gram. The time duration should be recorded continueously together the previous two steps so that you can draw a diagram of mass change in dependence of time duration as shown right.

- Determine the mass change of liquid nitrogen due to the input of copper cylinder from the diagram you draw.

Data record for the measurement of the Latent Heat of Vaporization of Liquid Nitrogen

Mass of copper cylinder (mCu)                    =______________g

Initial Temperature of copper cylinder(Ti,Cu)   =_____________℃

Final Temperature of copper cylinder(Tf,Cu)      =_____________℃

Mass change of LN due to the input of copper cylinder(Dm) =______________g

Measurement of the Average Specific Heat of Copper in the Temperature Range -195.8℃ to room temperature(Optional)

Questions

1．List various factors，especially errors in measurement and experimental work，which might affect your measured value.

2.  What did you learned from this lab?

References

- Adopted from "Experiment 3# The Latent Heat of Vaporization of Liquid Nitrogen" http://www.physicslabs.umb.edu/Physics/spring06/Exp3_182_Spr06.pdf