Frank-Hertz experiment with Argon

- Goal

To investigate the first excitation potential of argeon.

- Related Topics

Atom structure, electron-molecular interaction.

- Introduction

The Franck-Hertz experiment was a physics experiment that provided support for the Bohr model of the atom, a precursor to quantum mechanics. In 1914, the German physicists James Franck and Gustav Ludwig Hertz sought to experimentally probe the energy levels of the atom. The now-famous Franck-Hertz experiment elegantly supported Niels Bohr's model of the atom, with electrons orbiting the nucleus with specific, discrete energies. Franck and Hertz were awarded the Nobel Prize in Physics in 1925 for this work.

In the early 20th century, experiments by Ernest Rutherford established that atoms consisted of a diffuse cloud of negatively charged electrons surrounding a small, dense, positively charged nucleus. Given this experimental data, Rutherford naturally considered a planetary-model atom. The laws of classical mechanics predict that the electron will release electromagnetic radiation while orbiting a nucleus. Because the electron would lose energy, it would gradually spiral inwards, collapsing into the nucleus. This atom model is disastrous, because it predicts that all matter is unstable.

Also, as the electron spirals inward, the emission would gradually increase in frequency as the orbit got smaller and faster. This would produce a continuous smear, in frequency, of electromagnetic radiation. However, late 19th century experiments with electric discharges through various low-pressure gasses in evacuated glass tubes had shown that atoms will only emit light (that is, electromagnetic radiation) at certain discrete frequencies.

To overcome this difficulty, Niels Bohr proposed, in 1913, what is now called the Bohr model of the atom. He suggested that electrons could only have certain classical motions:

- The electrons can only travel in special orbits: at a certain discrete set of distances from the nucleus with specific energies.

- The electrons do not continuously lose energy as they travel, which energies are constant.

- They can only gain and lose energy by jumping from one allowed orbit to another, absorbing or emitting electromagnetic radiation with a frequency  determined by the energy difference h =ΔE of the levels according to Bohr's formula where h is Planck's constant.

In the atoms, the level with the lowest energy is called “the ground state”, the higher energies are called “the first excitation state”, “the second excitation state” and so on in order from the ground state. If the ground state and the first excitation state are described by E0, E1, respectively, the first excitation potential is U1=(E1-E0)/e.

The collisions between electrons and atoms have two types, elastic collisions and inelastic collisions. If the energies of electrons are lower than the required value, when they encountered atoms, they participated in purely elastic collisions. This is due to the prediction of quantum mechanics that an atom can absorb no energy until the collision energy exceeds that required to lift an electron into a higher energy state. That is, a free electron's kinetic energy could be converted into potential energy by raising the energy level of an electron bound to an atom. The excitation state is not stable. The atom will go back to the ground state and releasing the energy with radiation emission. If the wavelength of the radiation lies in the visible range, we will see as light.

- Experiment device

Fig. 1: Schematic diagram of the Franck-Hertz tube, Ar

An evacuated glass tube is filled with argon. As shown in Fig. 1, The grid-type control electrode G1 is placed in close proximity to the cathode K; the acceleration grid G2 is set up at a somewhat greater distance, and the collector electrode P is set up next to it. The cathode is heated indirectly, in order to prevent a potential differential along K. Electrons are emitted by the hot electrode and form a charge cloud. These electrons are attracted by the driving potential UG1K between the cathode and grid G1. A braking voltage UG2P is present between grid G2 and the collector P. Only electrons with sufficient kinetic energy can reach the collector electrode and contribute to the collector current.

Fig.2 IP-UG2K curve

In this experiment, the acceleration voltage UG2K is increased from 0 to 100 V while the driving potential UG1K and the braking voltage UG2P are held constant, and the corresponding collector current IP is measured. As shown in fig.2, this current initially increases, but reaches a maximum when the kinetic energy of the electrons closely in front of grid G2 is just sufficient to transfer the energy required to excite the argon atoms through collisions. The collector current drops off dramatically, as after collision the electrons can no longer overcome the braking voltage UG2P. As the acceleration voltage UG2K increases, the electrons attain the energy level required for exciting the argon atoms at ever greater distances from grid G2. After collision, they are accelerated once more and, when the acceleration voltage is sufficient, again absorb so much energy from the electrical field that they can excite a argon atom. The result is a second maximum, and at greater voltages UG2K further maxima of the collector currents IP.

- Tasks/Procedure

- Measuring the first excitation potential of argon.

In order to obtain an optimized IP-UG2K curve, you should select optimal UF，UG1K and UG2P values. One criterion is when you increase the acceleration voltage UG2K, the collector current Ip will reach maximum and minimum periodically. Then, increase UG2K slowly by hand from 0 V to 100 V. Read out the voltage UG2K and the related current Ip from the display. Put your data on a drawing paper. Find out the first excitation potential of argon according to the curve you get.

- Questions

6.1 Why do you make conclusion that the energy of the electrons in an atom is quantized from this experiment?

6.2 Why is it necessary to apply a deceleration voltage between collector electrode P and anode grid G2?

6.3 Please discuss the reason why the current of the peaks and troughs of the curve increasing with the increasing of the acceleration voltage UG2K.

- Reference

- 沈元华，陆申龙 基础物理实验 高等教育出版社， 2003

- http://leybold-didactic.de/literatur/